## Slide 1: Welcome to RE+ Mid-Atlantic

## Slide 2: Technical Interconnection Requirements for the Distribution Grid: Challenges, Best Practices, and Pathways Forward
Moderator:
Dexter Hendricks – Senior Manager Interconnection Policy, Coalition for Community Solar Access
Speakers:
Alicia Scott – Senior Project Manager, Interconnection, CleanCapital
Panelist: Abdulrahman D. Kargbo – Manager DER engineering and Advance Analytics, Pepco Holding Inc (PHI)

## Slide 3: Submit A Question

## Slide 4: Technical Interconnection Requirements for the Distribution Grid: Challenges, Best Practices, and Pathways Forward
Moderator:
Dexter Hendricks – Senior Manager Interconnection Policy, Coalition for Community Solar Access
Speakers:
Alicia Scott – Senior Project Manager, Interconnection, CleanCapital
Panelist: Abdulrahman D. Kargbo – Manager DER engineering and Advance Analytics, Pepco Holding Inc (PHI)

## Slide 5: RE+ TIR DISCUSSIONS
Abdulrahman Kargbo |Manager DER Engineering | PHI Capacity Planning
July 11, 2025

## Slide 6: What are the Requirements of Grid Interconnection?
Technical Interconnection Requirements (TIR): A set of rules that provide governance and requirements to customers wishing to interconnect to the grid
Structured around IEEE 1547 - 2018 Standard
Created in conjunction with EPRI
Goal is to maintain a reliable grid while accommodating the most DER capacity efficiently and as economically feasible
Changes are driven by Regulatory Requirements, technology and process changes
This is a publicly available Document
TIR Main Categories
Single & Three Phase Limits
Voltage Limitations
Distribution Connection
Requirements
Express Circuit Criteria & length limits
Telemetry (Monitoring & Control)
Requirements
Substation Power Transformer Limits
Direct Transfer Trip (DTT) Requirements
PHI Capacity & DER Planning Maintains Governance & Oversight of the Technical Interconnection Requirements

## Slide 7: Where does TIR Fit in the Whole Process?
Criteria Focuses on Technical Review & Detailed Engineering Scoping (i.e. Not Commissioning requirements).
Where DER is Applicable?
  Does not apply Demand Response (DR), Energy Efficiency (EE), nor Transmission
  Focused on Photovoltaics (PV) & Distributed Generators
Application and Initial Assessment:
Customer applications are reviewed against
the TIR for initial feasibility. It is up to the
customer to adhere to standards to ensure a
safe and reliable interconnect to the system
Technical Review & Engineering Study:
Detail technical designs are created in
compliance with the TIR recommendations
to ensure it meets all specified
requirements.
Application
Submittal
Technical
Review
Engineering
Study / Detailed
SOW &
Estimate
Cost Letter /
Payment /
Approval to
Install (ATI)
Project Design /
Execution
Energization
TECHNICAL INTERCONNECTION REQUIREMENTS (TIR)

## Slide 8: TIR Enhancements Impacting Customers & Affordability
 | 3V0 Functionality (Q2 2023) | Advanced Inverter Capabilities (Q2 2023) | Advanced Inverter Capabilities (Q2 2023) | Remove hard Large DER Feeder Limits (Q2 2024) | Potential TIR changes
Description | Relaying at the Substation to protect assets from Reverse Power Flow | Incorporation of Smart Inverters as per Regulatory Requirements | Incorporation of Smart Inverters as per Regulatory Requirements | Previous Criteria Restricts Feeders for Large DERs to Reserve Hosting Capacity | Adding new sections to incorporate new technology and regulatory changes Adding combine DER impact study report template
Change | Adding 3V0 benefits to TIR criteria | New Customers are required to install Smart Inverters as per IEEE 1547-2018 Std. | Limits replaced with technical power flow & fault analysis per application | Restrict Feeders for Large DERs for Reliability and Safety via System Protection Criteria | V2G interconnection review and accepted standards Flexible interconnection and limited export technology standards
Impacts | Saves $100K/mile Fiber for Direct Transfer Trip (DTT) for customers per install if DTT is required Provides Customers alternative option to interconnect ($150K - $1.5M costs) Socialize Cost of 3V0 Installation | Existing Interconnection Customers will not be impacted, and new/upgraded interconnections will have to follow new rules & regulations Enables Flexible Interconnection | Express Feeder Availability would increase available DER Capacity | Less Feeder Restrictions Alternative solutions for restricted feeders other than express feeder | Ease the interconnection review process for customer by opting into the flexible export option Provide developers a more detailed impact study report

## Slide 9: Submit A Question

## Slide 10
Live Content Slide
When playing as a slideshow, this slide will display live content
Social Q&A for Technical Interconnection Requirements
Notes: This is a live content slide. When playing this presentation as a slideshow, this slide will be where live content appears. Please leave the following Slide Code tag in place: <cnf>M1TTXCK3QD3SR322</cnf>

## Slide 11
Live Content Slide
When playing as a slideshow, this slide will display live content
Session Evaluation for Technical Interconnection Requirements
Notes: This is a live content slide. When playing this presentation as a slideshow, this slide will be where live content appears. Please leave the following Slide Code tag in place: <cnf>TDG3TAEC8KNPYE4F</cnf>